## Slide 1
Professor & Head, Department of Pharmaceutics
St. Peter’s Institute of Pharmaceutical Sciences,
Hanumakonda, Telangana, India.
The BACTERIAL ENDOTOXIN TEST
(LAL Assay) and its alternatives

## Slide 2: Introduction
The Bacterial Endotoxin Test, is another name for the Limulus amoebocyte lysate [LAL] test.
The presence and concentration of bacterial endotoxins (pyrogens) in an aqueous parenteral preparation are determined using this in vitro assay.
Limulus amoebocyte lysate (LAL) extracted from the blood of Limulus polyphemus, a horse shoe crab.
The activated enzyme coagulase is created when the proenzyme in the LAL reagent combines with the Gram-negative bacterial endotoxin lipopolysaccharide (LPS).
Now, the activated enzyme (coagulase) hydrolyzes part of the bonds in the coagulogen (clotting protein), which is also included in the LAL reagent.
Following the completion of hydrolysis, the resulting coagulin binds and forms a clot.

## Slide 3: FDA-approved techniques to identify clot type generated.
The gel clot Method
Recombinant Factor C Test (rFC)
The spectrophotometric Method and
Chromogenic assay

## Slide 4: The gel clot Method
Based on the lysate reagent's ability to clot in test tubes when endotoxins are present, the gel-clot technique is used to detect endotoxins.
The lowest endotoxin concentration necessary for the lysate to clot under typical circumstances.
It's a qualitative approach.

## Slide 5: 2. Recombinant Factor C Test (rFC)
The solution fluoresces when the activated rFC enzyme cleaves a synthetic fluorogenic substrate in response to endotoxin's binding to recombinant Factor C
Without using horseshoe crabs, the recombinant Factor C test provides the same level of dependability as LAL approach using a single enzymatic step.
The rFC assay has a sensitivity of 0.005 EU/mL and is performed using a synthetic reagent which contains a recombinant form of Factor C that has been constructed in vitro.
The assay is not susceptible to false positives due to beta-glucans, which come from cellulose and other plant-based products, as the BETs are.
As the rFC is synthetic, use of the rFC assay may result in a more sustainable testing plan while also being more environmentally friendly by helping reduce the need for the horseshoe crab blood.

## Slide 6: 3. The spectrophotometric Method
It is a photometric test that gauges the rise in turbidity brought on by the endotoxin and lysate response.
In this context, a spectrophotometer is employed.
This process creates turbidity following the cleavage of an endogenous substrate.

## Slide 7: 4. Chromogenic assay
Developed by the chromophore and released by the chromogenic substrate through the interaction with endotoxin lysate, the chromogenic method is also a photometric assay that measures colour.
The endotoxin concentration in the sample is determined by measuring the reaction's colour using the spectrophotometric technique.
A peptide linked to the yellow clottable coagulant p-nitroaneline serves as the chromogenic reagent in this procedure.

## Slide 8: 4. Chromogenic assay contd..
There are typically two types of chromogenic techniques.
The Endpoint Chromatogenic Technique, which measures colour after the LAL enzymatic reaction is complete.
The kinetic chromogenic technique which after adding the chromogenic substrate to the test sample, measures the colour at various points in time.

## Slide 9: Monocyte Activation Test (MAT)
The MAT (Monocyte Activation Test) is a cellular based assay to detect a broad range of pyrogens (both endotoxins and non-endotoxins) in pharmaceutical products (e.g. vaccines, monoclonal antibodies, hormone preparations).
It uses human immune cells and measures the immune reaction to pyrogenic contaminations.
By incubating monocytes with the tested sample, the monocyte activation test simulates the human immune response.
When pyrogens are present, monocytes get activated and release cytokines, which are inflammatory chemicals that cause a fever.

## Slide 10: Monocyte Activation Test (MAT) contd..

## Slide 11
CONCLUSION
21
The rabbit pyrogen test shows a lack of robustness as an animal reaction can differ greatly from a human reaction.
In the LAL test, only endotoxins are detected causing a safety risk by ignoring non-endotoxin pyrogens that could be present in the tested sample.
Both endotoxins and non endotoxins can be detected by MAT.

## Slide 12: References
1. D. Ogoina. Fever, fever patterns and diseases called ‘fever’—a review. J. Infect. Public Health(2011)
2. M.B. Gorbet et al. Endotoxin: the uninvited guest. Biomaterials. (2005)
3. Y. Rosenfeld et al. Lipopolysaccharide (Endotoxin)-host defense antibacterial peptides interactions: role in bacterial resistance and prevention of sepsis. Biochim. Biophys. Acta (BBA)—Biomembr (2006)
4. Y.C. Lu et al.LPS/TLR4 signal transduction pathway. Cytokine. (2008)
5. G. Lopez-Castejon et al. Understanding the mechanism of IL-1β secretion. Cytokine Growth Factor Rev. (2011)
6. H.I. Nakamura et al. Recombinant human tumor necrosis factor causes long-lasting and prostaglandin-mediated fever, with little tolerance, in rabbits. J. Pharmacol. Exp. Ther. (1988)
7. C. Popa et al. The role of TNF-α in chronic inflammatory conditions, intermediary metabolism, and cardiovascular risk. J. Lipid Res.(2007).
8. M. Rincon. Interleukin-6: from an inflammatory marker to a target for inflammatory diseases. Trends Immunol. (2012)
9. N. Quan et al. Cyclooxygenase 2 mRNA expression in rat brain after peripheral injection of lipopolysaccharide. Brain Res. (1998)

## Slide 13: THANK You!
Any questions?
You can find me at yuppieraj@gmail.com &
contact me at +91-9949611237
Dr. Rajasekhar Reddy Poonuru Professor & Head, Department of Pharmaceutics
St. Peter’s Institute of Pharmaceutical Sciences, Hanumakonda