## Slide 1: NABL National Accreditation for Testing and Calibration Laboratories
T.HEMADEVI
ASSISTANT PROFESSOR
St Peter’s Institute Of Pharmaceutical Sciences

## Slide 2
The National Accreditation Board for Testing and Calibration Laboratories (NABL) undertakes the assessment and accreditation of testing and Calibration Laboratories, in accordance with the international standard ISO/IEC 17025 and ISO 15189.
NABL is an autonomous body under the aegis of Department of Science & Technology, Government of India, and is registered under the Societies Act.
It is only one of its kinds that assess laboratories in India for quality and consistency in the results.
NABL has agreements with ILAC (International Laboratory Accreditation Conference) and APLAC (Asia Pacific Laboratory Accreditation Cooperation).

## Slide 3
AIMS AND OBJECTIVES
NABL has been established with the objective to provide Government, Industry and Society in general with a scheme for third-party assessment of the quality and technical competence of testing and calibration laboratories.
Govt. of India has authorized NABL as the sole accreditation body for Testing and Calibration laboratories.

## Slide 4
In order to achieve this objective, NABL provides laboratory accreditation services to laboratories that are performing tests / calibrations in accordance with NABL criteria based on internationally accepted standard for laboratory accreditation ISO/IEC 17025.

## Slide 5: TYPES OF LABORATORIES SEEK FOR ACCREDITATION
The laboratories should be legally identifiable & appropriately registered. They can be a part of a big organization or an independent entity.
NABL accreditations is currently given in following fields:
Testing laboratories
Calibration laboratories
Medical laboratories

## Slide 6
TESTING LABORATORIES | CALIBRATION LABORATORIES | MEDICAL LABORATORIES
Biological Chemical Electrical Electronics Fluid-Flow Mechanical Non-Destructive Testing Radiological Thermal Forensic Photometry | Electro-Technical Mechanical Fluid Flow Thermal & Optical Radiological | Clinical Biochemistry Clinical Pathology Haematology & Immunohaematology Microbiology & Serology Histopathology Cytopathology Genetics Nuclear Medicine (in-vitro tests only)

## Slide 7
IMPORTANCE OF LABORATORY ACCREDITATION
The concept of laboratory accreditation was developed to provide a means for third-party certification of the competence of laboratories to perform specific type(s) of testing and calibration.
Laboratory accreditation provides formal recognition of competent laboratories, thus providing a ready means for customers to find reliable testing and calibration services in order to meet their demands.
Laboratory accreditation enhances customer confidence in accepting testing /calibration reports issued by accredited laboratories.

## Slide 8: BENEFITS OF ACCREDITATION
For customer
Customers can search laboratories
  Customers can search and identify the laboratories accredited by NABL for their specific requirements from the NABL website or Directory of accredited laboratories.
Increased confidence in reports
  The labs are required to participate in proficiency testing which is again demonstration of competence. So, there is increased confidence in the reports released by the laboratory.
The customers get services by credential staff.
Savings in terms of time and money as it reduces or
eliminates the need of re-testing.

## Slide 9
For laboratory
Use of NABL symbol
  The accredited laboratories can issue test reports bearing the accreditation body’s symbol or endorsement, as an indication of accreditation.
International Recognition
  Lab accreditation is highly regarded both nationally and
internationally as an indicator of technical competence
Satisfaction of the staff
  The staff in an accredited laboratory is satisfied as it provides for continuous learning ,good working environment, leadership.

## Slide 10: ACCREDITATION PROCESS
1.An applicant laboratory is excepted to submit to NABL 5 copies of the application and 5 copies of Quality Manual.
2.The Quality Manual will be forwarded by NABL to a Lead Assessor to judge the adequacy of the Quality Manual as to whether it is in compliance with ISO 15189 standards.
3.Thereafter the Lead Assessor will conduct a Pre Assessment of the laboratory for one day. Based on the Pre-Assessment report the laboratory may have to take certain corrective actions, so as to be fully prepared for the final assessment.

## Slide 11
4. It is essential for the applicant as well as accredited laboratories to satisfactorily participate in proficiency testing/ Interlaboratory comparisons/External quality assessment programme as Asia pacific Laboratory Accreditation Cooperation (APLAC) Mutual Recognition Arrangement calls for mandatory participation in such programmes.
5.Finally when the laboratory is ready, the lead Assessor and a team of technical assessors will conduct the final assessment. The number of technical assessors will depend on the number of disciplines applied for.
6. The accreditation process involves a through assessment of all the elements of the laboratory that contribute to the production of accurate and reliable test data. These elements include staffing, training, supervision, quality control, equipment, recording and reporting of test results and the environment in which the laboratory operates.

## Slide 12
7. The laboratory may have to take certain corrective actions, after the final assessment. After satisfactory corrective actions are taken by the laboratory (within a period of 3 months), the Accreditations committee will examine the report and if satisfied recommend accreditation.
8.The time required for the process of accreditation will depend upon the preparedness of the laboratory and its response to the non- conformances raised during the pre-assessment and final assessment. The total duration ranges between 6 and 8 months.
9.Surveillance and reassessment accreditation to a laboratory shall be valid for a period of 3 years. NABL shall conduct annual surveillance of the accredited laboratories. The laboratories may enhance or reduce the scope of accreditation during surveillance.

## Slide 13
10. The laboratories need to apply for renewal of accreditation, at least six months before the expiry of validity of accreditation for which a re-assessment shall be conducted.

## Slide 14
Application for Accreditation
(by Laboratory)
Acknowledgement & Scrutiny of Application
(by NABL Secretariat)
Adequacy of Quality Manual
(by Lead Assessor)
Pre-Assessment of Laboratory
(by Lead Assessor)
Final Assessment of Laboratory
(by Assessment Team)
Scrutiny of Assessment Report
(by NABL Secretariat)
Recommendations for Accreditation
(by Accreditation Committee)
Approval for Accreditation
( by Chairman NABL)
Issue of Accreditation Certificate (by NABL Secretariat)
Feedback to Laboratory
and
Necessary Corrective Action
by Laboratory