## Slide 1
Non-Aqueous Titration
K.Rajamani
Assistant Professor
Dept of Pharmaceutical Analysis
St.Peter’s institute of Pharmaceutical Sciences

## Slide 2
Non-Aqueous Titration (NAT)
Non aqueous titration: Titration performéd in
solvent medium which does not contain water.
Substance is dissolved in a solvent and titrated
using acid or base as titrant.
-- Reaction carry out in non-aqueous medium
Principle is based on Brownsted-Lowry Theory

## Slide 3
NAT is applied where;
-- Non aqueous titrations are the titrations in which weakly acidic or basic substances are carried out using non–aqueous solvents to get sharp end point.
--The moisture content in non–aqueous titrations should not be more than 0.05%.
--Moisture and carbon dioxide are to be avoided in non– aqueous methods.
--To titrate separately for a mix of acids (bases) with near dissociation constants.
--To determine the substances which are insoluble in water.

## Slide 4
Advantages of NAT
--Organic acids and bases that are insoluble in water can be tested using appropriate solvents
-- Principle of NAT is same as aqueous titration.
-- Very weak acid and bases can be analysed in NAT
-- Mixture of weak acids can be tested in single or mixture of solvents. The individual acid can give separate end point in different solvent.
-- Biological ingredients of a substance whether acidic or basic can be selectively titrated using proper solvents.eg Nitrogen containing compounds.
Examples: Ephedrine , codeine phosphate, tetracycline, piperazine Anti- histamines etc.

## Slide 5: Solvents
The solvents used in Non aqueous titratuin are called as Non aqueous solvents.There are four types of solvents:
Aprotic solvents
Protophilic solvents
Protogenic solvents
Amphiprotic solvents

## Slide 6
Aprotic Solvents: Neutral solvents
--Solvents are chemically Neutral, inert substance and does not involve any chemical reaction.
--They possess low dielectric constants.
Eg. Toluene, carbon tetrachloride , acetonitrile,
benzene, and chlorinated hydrocarbons.
Protogenic Solvents
--Also called as Acidic solvents are acidic in nature and
readily donate protons.
--They have high dielectric constant and highly ionized.
--Solvents which are more acidic than water,
Eg . Anhydrous Hydrogen fluoride , Sulphuric acid,
Formic acid , acetic acid etc.

## Slide 7
Protophilic Solvents: (philic- affinity)
Solvents which are more basic than water, They will react with an acidic solute with the formation of a solvated proton and the conjugate base of the acid.
Eg. Liquid ammonia, Amines , Ketones, ethers etc.
Amphiprotic solvents:
Solvents have properties which are Protophilic as well as Protogenic.
They donate the protons and accept the protons.
Examples: Alcohols,weak organic acids(Acetic acid)

## Slide 8
NON AQUEOUS INDICATORS:
The colour change at the end point vary from titration to titration, as they depend on the nature of the titrant. The end point may be established either by potentiometric titration or by colour change of the indicator.
Crystal violet
Quinaldine Red
Thymol Blue

## Slide 9
Applications:
Substances that can be titrated by non-aqueous are acid halide, anhydrides, weak acids like amino acids enols like barbiturate, xanthans, phenols, pyrroles, sulphonamide, and organic salt of in organic acid, Amantidine hydrochloride.Chloropromazine hydrochloride,Promethazine hydrochloride etc.
Precautions :
Moisture and CO2 have to be excluded, water being weakly basic would compete with perchloric acid and sharpness of end point would be lost, therefore, moisture contents should be less that 0.05%.