## Slide 1: Surface Tension
DEEPTHI KODAM
Assistant Professor
St. Peter’s Institute of Pharmaceutical Sciences

## Slide 2: Introduction
This presentation explores the concept of surface tension, its impact on liquids, and the various methods used to measure it.

## Slide 3: Definition of Surface Tension
Surface tension
Surface tension is a Surface tension is a measurement of the cohesive energy present at an interface. The molecules of a liquid attract each other. The interactions of a molecule in the bulk of a liquid are balanced by an equal attractive force in all directions.
Units of surface tension
The SI unit of Surface Tension is Newton per Meter or N/m
The CGS unit of surface tension is dyne/cm.

## Slide 4: Factors Affecting Surface Tension
Several factors influence surface tension, including
Temperature (higher temperatures decrease surface tension),
The presence of surfactants (which lower surface tension), and
The type of liquid.
Additionally, impurities and additives can also significantly alter surface tension properties.

## Slide 5: Determination Methods 02

## Slide 6: Capillary Rise Method
In the capillary rise method, a thin tube is inserted into a liquid. Due to surface tension, the liquid climbs the tube's walls, and the height of this rise is measured. The surface tension can be calculated using the height of the liquid column, diameter of the tube, and fluid density. This method is straightforward and commonly used in laboratories.

## Slide 7: Wilhelmy Plate Method
The Wilhelmy plate method involves
immersing a thin, vertically oriented
plate into a liquid. The force exerted
by the liquid on the plate,measured
using a balance, will provide
information about the surface tension.
This technique is particularly useful for accurately measuring surface tension changes with temperature and surfactant concentration.

## Slide 8: Du Nouy Ring Method
The Du Nouy ring method measures the force required to detach a ring from the surface of a liquid. A ring made of a specific material is gently submerged in the liquid, and the force needed to pull it away is recorded.
The surface tension is then calculated based on this force and the ring's dimensions, offering precise results for different liquid types.

## Slide 9
A stalagmometer is a device consisting of
a capillary tube with a wide, bulb-shaped middle section and a narrow bottom that together allow a liquid to form a drop as it falls from the tube. It is used in a process known as the drop-weight method to compare the number and weight of drops of a particular liquid to a reference liquid, such as water. The instrument is used to measure a liquid's surface tension
Drop Count and Drop weight Method

## Slide 10: Conclusions
Understanding surface tension is essential in various scientific and practical fields. Its measurement methods, including the capillary rise, Wilhelmy plate, and Du Noüy ring methods, provide insights into physical properties of liquids. By manipulating surface tension, we can improve numerous industrial processes, ultimately enhancing product quality and performance.

## Slide 11
Thank You